## Sheet1
BOQ Item Sr No | HSN / SAC Code | Item Description | Unit | Scheduled Qty | Design Qty | Rate Basic | GST % | Non-Scheduled
1 | 995461 | Supply, installation, testing & commissioning of analog addressable type self acclimatizing multi sensing (Photo + Heat) detector with standard mounting base, LED, address switch, complete with MS Powder coated junction box (if required) for mounting on surface / on false ceiling / below false ceiling, cable lugs at ends, cable compression glands, cable tags and ferruling. UL listed. | Each | 387 | 489 | 2707.9 | 12 | N
2 | 995461 | Supply, installation, testing & commissioning of analog addressable rate of rise cum fixed temperature detector with standard mounting base, LED, address switch, complete with MS Powder coated junction box (if required) for mounting on surface / on false ceiling / below false ceiling. | Each | 12 | 14 | 2124.29 | 12 | N
3 | 995461 | Supply, installation, testing & commissioning of response indicator with matching screws complete with GI junction box, cable lugs at cable end and ferruling. | Each | 60 | 45 | 60.885 | 12 | N
4 | 995461 | Supply, installation, testing & commissioning of addressable dual action manual pull station with address switch and all mounting accessories, complete with MS powder coated junction box for mounting on surface, cable lugs at ends, cable compression glands, cable tags and ferruling. UL listed. | Each | 8 | 10 | 3474.1575 | 12 | N
5 | 995461 | Supply. installation, testing & commissioning of addressable control Module with Address Switch and all mounting 'accessories, complete with MS Powder coated Junction Box for mounting on Surface, Cable, lugs at Ends, cable compression glands, cable tags . | Each | 15 | 13 | 3033.855 | 12 | N