## ERP Design BOQ
BOQ Item Sr No(unique no - alphanumeric) | HSN / SAC Code (Numeric) | Item Description(Text) | Unit(Text) | Scheduled Qty(Numeric) | Design Qty(Numeric) | Rate Basic(Numeric) | GST %(Numeric) | Non-Scheduled(Yes/No)
A-1 | 998739 | Cylinder (AR/N2) 140L - 300 Bar | Nos | 22 | 22 | 106720 | 18 | NO
A-2 | 998739 | Hi-Flex Disch. Hose 1/2 inch x 400 mm | Nos | 22 | 22 | 2538 | 18 | NO
A-3 | 998739 | Check Valve 3/4 inch x 1/2 inch | Nos | 22 | 22 | 870 | 18 | NO
A-4 | 998739 | Release Unit 300 Bar | Nos | 10 | 10 | 43732 | 18 | NO
A-5 | 998739 | Contact Gauge unit 300 Bar | Nos | 12 | 12 | 13543 | 18 | NO
A-6 | 998739 | 1/4 inch Tee Piece for actuation Line | Nos | 12 | 12 | 1243 | 18 | NO
A-7 | 998739 | Leak Valve for Pilot Line 1/4 inch | Nos | 2 | 2 | 2252 | 18 | NO
A-8 | 998739 | Hi-Flex interconnect hose 1/4inch x 500mm | Nos | 10 | 10 | 1311 | 18 | NO
A-9 | 998739 | Hi-Flex interconnect hose 1/4inch x 700mm | Nos | 2 | 2 | 1566 | 18 | NO
A-10 | 998739 | Hi-Flex Hose 1/4" - 1 x 90 Deg x 400mm | Nos | 8 | 8 | 1856 | 18 | NO
A-11 | 998739 | Non Return Valve 1/4 inch | Nos | 8 | 8 | 8990 | 18 | NO
A-12 | 998739 | 1/4inch Cross for actuation line | Nos | 10 | 10 | 3016 | 18 | NO
A-13 | 998739 | Pressure Relief Device 300 Bar | Nos | 1 | 1 | 8932 | 18 | NO
A-14 | 998739 | Gauge 1/2" NPT | Nos | 1 | 1 | 13340 | 18 | NO
A-15 | 998739 | Ball Valve,1 1/2 inch, (Diverter Valve) FE-NPT | Nos | 3 | 3 | 110780 | 18 | NO
A-16 | 998739 | Handle for 1 1/2 inch Ball Valve | Nos | 3 | 3 | 5510 | 18 | NO
A-17 | 998739 | Ball Valve,1 inch, (Diverter Valve) FE-NPT | Nos | 8 | 8 | 101500 | 18 | NO
A-18 | 998739 | Handle for 1 inch Ball Valve | Nos | 8 | 8 | 4988 | 18 | NO
A-19 | 998739 | Pilot Manifold for 3 Diverter Valves | Nos | 1 | 1 | 146160 | 18 | NO
A-20 | 998739 | Pilot Manifold for 4 Diverter Valves | Nos | 2 | 2 | 204740 | 18 | NO
A-21 | 998739 | Hi Flex Hose 1/4 inch x 700 mm x 90 Deg | Nos | 11 | 11 | 2088 | 18 | NO
A-22 | 998739 | Pressure Operated Switch | Nos | 11 | 11 | 16240 | 18 | NO
A-23 | 998739 | Discharge Nozzle Assembly | Nos | 50 | 50 | 4466 | 18 | NO
A-24 | 998739 | Restrictor Assembly 1 1/2 inch | Nos | 3 | 3 | 27840 | 18 | NO
A-25 | 998739 | Restrictor Assembly 1 inch | Nos | 8 | 8 | 16240 | 18 | NO
A-26 | 998739 | Cylinder Label, 300 Bar, AR/N2, GB | Nos | 22 | 22 | 754 | 18 | NO
A-27 | 998739 | Warning Sign F/Alarm Inert GB | Nos | 13 | 13 | 754 | 18 | NO
A-28 | 998739 | Warning Sign/Door Inert GB | Nos | 13 | 13 | 754 | 18 | NO
A-29 | 998739 | Manifold for 300 Bar pressure -Sch 160 pipe | Lot | 1 | 1 | 58000 | 18 | NO
A-30 | 998739 | Cylinder mounting accessories | Lot | 1 | 1 | 51040 | 18 | NO
A-31 | 998739 | Supply and installation of M.S. Seamless pipes as per ASTM A 106 Gr. B. Sch. 40 Piping (Per cylinder) 80 mm - 116 mtr 65 mm - 46 mtr 50 mm -156 mtr 40 mm - 318 mtr 32 mm - 2 mtr 25 mm - 186 mtr 20 mm - 13 mtr 15 mm - 2 mtr | Lot | 22 | 22 | 34800 | 18 | NO
A-32 | 998739 | Supply and installation of Abort switch. | Nos | 13 | 13 | 2610 | 18 | NO
A-33 | 998739 | Supply and installation of Release switch. | Nos | 13 | 13 | 1508 | 18 | NO
A-34 | 998739 | Room Integrity Test | Lot | 13 | 13 | 87000 | 18 | NO
A-35 | 998739 | Dump Test | Lot | 1 | 1 | 98600 | 18 | NO
B-1 | 998739 | Supply and installation of 2 Zone conventional Gas Release Panel with battery. | Lot | 13 | 13 | 11020 | 18 | NO
B-2 | 998739 | Supply, Installation, Testing & Commissioning of Multicretirai Smoke detector. | Lot | 52 | 52 | 1160 | 18 | NO
B-3 | 998739 | Supply, Installation, Testing & Commissioning of Hooter cum strobe. | Lot | 13 | 13 | 1508 | 18 | NO
B-4 | 998739 | Supply, Installation, Testing & Commissioning of Response Indicator. | Lot | 20 | 20 | 139 | 18 | NO
B-5 | 998739 | Supply, Installation, Testing & Commissioning of Control Module. | Lot | 26 | 26 | 2610 | 18 | NO
B-6 | 998739 | Supply Installation, Testing & Commissioning of following 1100 volt grade XLPE insulated 2 Core X 1.5 Sq mm Cu armoured FRLS Cable.- 1420 Mtr | Lot | 1 | 1 | 133980 | 18 | NO
B-7 | 998739 | MS Structure for Cylinder & Civil Work for Piping ,cabling | Lot | 1 | 1 | 87000 | 18 | NO