## Sheet1
BOQ Item Sr No(unique no - alphanumeric) | HSN / SAC Code (Numeric) | Item Description(Text) | Unit(Text) | Scheduled Qty(Numeric) | Design Qty(Numeric) | Rate Basic(Numeric) | GST %(Numeric) | Non-Scheduled(Yes/No)
2 | 8518 | Supply, installation, testing & commissioning of analog addressable rate of rise cum fixed temperature detector with standard mounting base, LED, address switch, complete with MS Powder coated junction box (if required) for mounting on surface / on false ceiling / below false ceiling. | Each | 12 | 14 | 2124.2925 | 12 | N
4 | 8518 | Supply, installation, testing & commissioning of addressable dual action manual pull station with address switch and all mounting accessories, complete with MS powder coated junction box for mounting on surface, cable lugs at ends, cable compression glands, cable tags and ferruling. UL listed. | Each | 8 | 12 | 3474.1575 | 12 | N
5 | 8518 | Supply. installation, testing & commissioning of addressable control Module with Address Switch and all mounting 'accessories, complete with MS Powder coated Junction Box for mounting on Surface, Cable, lugs at Ends, cable compression glands, cable tags . | Each | 15 | 14 | 3033.855 | 12 | N
6 | 8518 | Supply, installation, testing & commissioning of fault isolator, module, complete with MS Powder coated Junction Box for mounting on Surface, Cable lugs at Ends, cable compression glands, cable tags and Ferruling. UL Listed. | Each | 30 | 24 | 2124.2925 | 12 | N
7 | 8518 | Supply, installation, testing & commissioning of Hooter cum 75cd/115cd STROBE (UL LISTED), complete with base, mounting box, gland, lugs etc. UL listed. | Each | 10 | 14 | 2707.8975 | 12 | N
9 | 8518 | Supply installation, testing & commissioning of lSI Marked 1 Twisted Pair x 1.5 sq mm, Multi-stranded Copper. FRLS. Armoured cable, RED in colour, laid on surface with GI saddle-spacers every 0.3 meters. Complete with GI Junction Box, lugs, cable comprression glands, tags & Ferruling. | Each | 4285 | 6000 | 67.5675 | 12 | N