## Sheet1
BOQ Item Sr No | HSN / SAC Code | Item Description | Unit | Scheduled Qty | Design Qty | Rate Basic | GST % | Non-Scheduled
1 | 995461 | Supply, installation, testing & commissioning of analog addressable type self acclimatizing multi sensing (Photo + Heat) detector with standard mounting base, LED, address switch, complete with MS Powder coated junction box (if required) for mounting on surface / on false ceiling / below false ceiling, cable lugs at ends, cable compression glands, cable tags and ferruling. UL listed. | pcs | 387 | 400 | 2707.9 | 12 | N
2 | 995461 | Supply, installation, testing & commissioning of analog addressable rate of rise cum fixed temperature detector with standard mounting base, LED, address switch, complete with MS Powder coated junction box (if required) for mounting on surface / on false ceiling / below false ceiling. | pcs | 12 | 13 | 2124.29 | 12 | N