## Sheet1
BOQ Item Sr No(unique no - alphanumeric) | HSN / SAC Code (Numeric) | Item Description(Text) | Unit(Text) | Scheduled Qty(Numeric) | Design Qty(Numeric) | Rate Basic(Numeric) | GST %(Numeric) | Non-Scheduled(Yes/No)
1 (a) | 85311090 | Supply of single loop Fire Alarm Control Panel (FACP) | Set | 1 | 1 | 403357.5 | 18 | N
2 (a) | 85311090 | (FACP) EST3X | Nos | 8 | 9 | 222495 | 18 | N
3 (a) | 85319000 | Supply of multicriteria detectors | Nos | 380 | 472 | 4641 | 18 | N
4 (a) | 85319000 | Supply of MCP | Nos | 18 | 16 | 3951.68 | 18 | N
5 (a) | 85311020 | Supply of Hooter | Nos | 20 | 25 | 5733 | 18 | N
6 (a) | 85319000 | Supply of Control module for Cross Zoning | Nos | 30 | 30 | 3617.25 | 18 | N
7 (a) | 85319000 | Supply of Monitor module for VESDA | Nos | 30 | 62 | 3617.25 | 18 | N
8 (a) | 85319000 | Supply of response indicator | Nos | 150 | 221 | 197.93 | 18 | N
9 (a) | 85319000 | Supply of Conventional UV flame detector | Nos | 36 | 26 | 12831 | 18 | N
10 (a) | 85446020 | Supply of 2 Corex 1.5 mm Fire Cable | Nos | 7000 | 7000 | 78 | 18 | N
11 | 85311090 | MCP | Nos | 1 | 1 | 3951.68 | 18 | N
12 | 85311090 | Detector | Nos | 1 | 1 | 4641 | 18 | N
13 | 85319000 | Control module | Nos | 1 | 1 | 3617.25 | 18 | N
14 | 85319000 | Monitor module | Nos | 1 | 1 | 3617.25 | 18 | N
15 | 85319000 | Response indicator | Nos | 1 | 1 | 197.93 | 18 | N
16 | 8504 | Power Supply | Nos | 1 | 1 | 44362.5 | 18 | N
17 | 85919000 | loop card | Nos | 1 | 1 | 58012.5 | 18 | N
18 (a) | 84137010 | Supply of Fire Main Pump | Nos | 1 | 1 | 273000 | 12 | N
19 (a) | 996511 | Supply of Fire Jockey Pump | Nos | 1 | 1 | 105105 | 12 | N
20 (a) | 85361010 | Supply of Automatic motor control center | Nos | 1 | 1 | 353535 | 18 | N
21 (a) | 730630 | Supply of 150 mm dia. | RAM | 100 | 298 | 2948.4 | 18 | N
22 (a) | 730630 | Supply of 100 mm dia. | RAM | 100 | 102 | 1638 | 18 | N
23 (a) | 730630 | Supply of 80 mm dia. | RAM | 50 | 50 | 1474.2 | 18 | N
24 (a) | 730630 | Supply of 50 mm dia. | RAM | 30 | 30 | 1064.7 | 18 | N
25 (a) | 730630 | Supply of 25 mm dia. | RAM | 30 | 30 | 382.2 | 18 | N
26 (a) | 84818020 | Supply of Stainless Steel single outlet hydrant valve | Nos | 15 | 18 | 8667.75 | 18 | N
27 (a) | 73101020 | Supply of MS Hose Box | Nos | 15 | 18 | 6825 | 18 | N
28 (a) | 84248990 | Supply of Hose Reel Drum | Nos | 6 | 6 | 9418.5 | 18 | N
29 (a) | 73072900 | Supply of GM Branch pipe with nozzels | Nos | 30 | 36 | 2866.5 | 18 | N
30 (a) | 73072900 | Supply of 63 mm dia Hose pipe 15m | Nos | 30 | 36 | 8190 | 12 | N
31 (a) | 84818090 | Supply of 25 mm dia PN 10 Ball valve as per specification. | Nos | 10 | 11 | 1160.25 | 18 | N
32 (a) | 85442090 | Supply of 3 Core x 16 sq. mm Copper conductor Armored FRLS Insulated | Mtr | 100 | 100 | 856.2 | 18 | N
33 (a) | 85442090 | Supply of 3 Core x 4 sq. mm Copper conductor Armored FRLS Insulated | Mtr | 100 | 100 | 328.69 | 18 | N
34 (a) | 84818030 | 150 mm dia. CI butterfly valves | Nos | 2 | 7 | 19110 | 18 | N
35 (a) | 84818030 | Supply of 100 mm dia. CI butterfly valves | Nos | 2 | 3 | 14332.5 | 18 | N
36 (a) | 84818030 | Supply of 80 mm dia. CI butterfly valves | Nos | 2 | 20 | 9282 | 18 | N
37 (a) | 84818090 | 150 mm dia.NRV | Nos | 2 | 2 | 20816.25 | 18 | N
38 (a) | 84818090 | Supply of 100 mm dia.NRV | Nos | 2 | 2 | 9555 | 18 | N
39 (a) | 84818090 | Supply of 80 mm dia.NRV | Nos | 2 | 2 | 9486.75 | 18 | N
40 (a) | 9026 | Supply of SS Pressure Gauge | Nos | 2 | 2 | 2730 | 18 | N
41 (a) | 90322090 | Supply of SS Pressure Switch | Nos | 2 | 2 | 1911 | 18 | N
42 (a) | 84818090 | 150 mm dia. Foot valve | Nos | 1 | 1 | 25935 | 18 | N
43 (a) | 84818090 | 100 mm dia. Foot valve | Nos | 1 | 1 | 17403.75 | 18 | N
44 (a) | 84818090 | 25mm Ball Valve | Nos | 1 | 1 | 1160.25 | 18 | N
45 | 90328990 | Pressure Switch | Nos | 1 | 1 | 1911 | 18 | N
46 | 9026 | Pressure Gauge | Nos | 1 | 1 | 2730 | 18 | N
47 (a) | 73110090 | Supply of 140 Ltr Cylinders | Nos | 9 | 10 | 257985 | 18 | N
48 (a) | 73110090 | Supply of 120 Ltr Cylinders | Nos | 3 | 4 | 253890 | 18 | N
49 (a) | 73110090 | Supply of 80 Ltr Cylinders | Nos | 4 | 2 | 210210 | 18 | N
50 (a) | 29146990 | Supply of Novec 1230 Gas | Nos | 1519 | 1559 | 4545.45 | 18 | N
51 (a) | 85319000 | Supply of Master Cylinder Accessories | Nos | 9 | 9 | 111930 | 18 | N
52 (a) | 85381010 | Supply of Mid/End Slave Cylinder Accessories | Nos | 4 | 4 | 110565 | 18 | N
53 (a) | 85059000 | Supply of Mid/End Slave Cylinder Accessories | Nos | 3 | 3 | 109882.5 | 18 | N
54 (a) | 84099920 | Supply of Nozzles | Nos | 49 | 51 | 10920 | 18 | N
55 (a) | 84818090 | Supply of El Check 2" (Manifold Check Valve) | Nos | 16 | 10 | 34125 | 18 | N
56 (a) | 730630 | Supply of Seamless Piping | Nos | 9 | 9 | 102375 | 18 | N
57 (a) | 85319000 | Supply of Release Switch | Nos | 9 | 9 | 10237.5 | 18 | N
58 (a) | 90328990 | Supply of discharge pressure switch. | Nos | 9 | 9 | 22522.5 | 18 | N
59 (a) | 8531 | Supply of Warning Sign Board with Marking "GAS DISCHARGE. DO NOT ENTER” | Nos | 9 | 9 | 12285 | 18 | N
60 (a) | 85446020 | Supply of 2 Corex 1.5 mm Fire Cable | Mtr | 300 | 300 | 78 | 18 | N
61 (a) | 4412 | Supply of fire rated wooden partition minimum 50mm thick. | Sq.ft | 200 | 200 | 750.75 | 18 | N
62 (a) | 4412 | Supply of fire rated plywood above false ceiling minimum 18mm thick. | Sq.ft | 475 | 475 | 389.03 | 18 | N
63 (a) | 441219 | Supply of fire rated plywood for VPS enclosure area minimum 18mm thick with fire rated laminated sheet in REMC VPS Enclosure room | Sq.ft | 345 | 460 | 464.1 | 18 | N
64 (a) | 441219 | Supply of fire rated plywood for VPS LD control room area minimum 18mm thick with fire rated laminated sheet in REMC VPS Enclosure room | Sq.ft | 375 | 782 | 464.1 | 18 | N
65 (a) | 70072900 | Supply of min. 10 mm thick Fire rated glass for 120 min with fire rated in wood/metal frame work inside room with all accessories. | Sq.ft | 700 | 1214 | 3139.5 | 18 | N
66 (a) | 9987 | Supply of 120 minutes fire rated wooden Fire doors size of 2400x2200 mmwith double leaf as per requirement. | Nos | 5 | 0 | 68250 | 18 | N
67 | 85319000 | Abort Switch | Nos | 1 | 1 | 6000 | 18 | N
68 | 85319000 | Release Switch | Nos | 1 | 1 | 6000 | 18 | N
69 | 90328990 | Pressure Switch | Nos | 1 | 1 | 20400 | 18 | N
70 | 84818090 | Solenoid Actuator | Nos | 1 | 1 | 72000 | 18 | N
71 | 8504 | Power Supply | Nos | 1 | 1 | 1500 | 18 | N
72 | 85072000 | 7AH Battery | Nos | 1 | 1 | 1200 | 28 | N
73 | 73110090 | 140 Litres 4 Nos. Cylinder Bank | Nos | 1 | 1 | 3227433.3 | 18 | N
74 (a) | 85319000 | Supply of VESDA Single Zone Aspiration Smoke Detector Panel | Nos | 7 | 10 | 215670 | 18 | N
75 (a) | 39172310 | Supply of 25mm PVC Conduit | Mtr | 400 | 400 | 68.25 | 18 | N
76 (a) | 85319000 | Supply of Sampling Nozzles with Tube | Nos | 70 | 70 | 5869.5 | 18 | N
77 (a) | 85446020 | Supply of 2 Corex 1.5 mm Fire Cable | Mtr | 350 | 350 | 77.81 | 18 | N
78 (a) | 85311020 | Supply of Conventional Sounder | Nos | 7 | 10 | 1706.25 | 18 | N
79 | 85319000 | MS VESDA Sampling Points | Nos | 1 | 1 | 5869.5 | 18 | N
80 | 8504 | MS VESDA SMPS | Nos | 1 | 1 | 1365 | 18 | N
81 (a) | 85258090 | Supply of 2MP IP Network TDN Low-Light IR Dome Camera | Nos | 15 | 15 | 47775 | 18 | N
82 (a) | 85258090 | Supply of 2MP IP Network TDN Low-Light IR Rugged box/Bullet Camera | Nos | 10 | 10 | 51870 | 18 | N
83 (a) | 85258090 | Supply of IP Network TDN Low-Light PTZ Camera with auto tracking | Nos | 4 | 4 | 225225 | 18 | N
84 (a) | 84715000 | a. Processor: Quad-core embedded processor | Nos | 1 | 1 | 178815 | 18 | N
85 (a) | 85285200 | Supply of Client Workstation | Nos | 1 | 1 | 122850 | 18 | N
86 (a) | 85285200 | Supply of Display screen for Client PC 32" | Nos | 2 | 2 | 36582 | 28 | N
87 (a) | 85258090 | Supply of TCP/IP based, Keyboad Joystick | Nos | 1 | 1 | 53235 | 18 | N
88 (a) | 8504 | Supply of Power Supply | Nos | 5 | 5 | 1911 | 18 | N
89 (a) | 84717020 | Supply of 8TB HDD for storage of all cameras | Nos | 5 | 5 | 46410 | 18 | N
90 (a) | 85176290 | Supply of 24 port 10/100/1000 Mbps Gigabit PoE+ layer 2 Managed switches with 2 SFP Port | Nos | 3 | 3 | 42997.5 | 18 | N
91 (a) | 84733099 | Supply of 9U - Wall mounted Communication rack with glass doors | Nos | 1 | 1 | 22522 | 18 | N
92 (a) | 8544 | Supply of interconnecting cable like HDMI, VGA, and onter accessories | Lot | 1 | 1 | 17062.5 | 18 | N
93 (a) | 8544 | Supply of Cat-6 cable laid on surface with GI saddle-spacers | Mtr | 2000 | 2600 | 41 | 18 | N
94 (a) | 39172310 | Supply of approved make 25 mm dia.PVC flexible conduits | Mtr | 1500 | 1500 | 45 | 18 | N
95 | 85414090 | Image Sensor | Nos | 1 | 1 | 8400 | 18 | N
96 | 90021900 | Lens | Nos | 1 | 1 | 15000 | 18 | N
97 | 8504 | Power Supply | Nos | 1 | 1 | 1500 | 18 | N
98 | 8544 | HDMI cable 5 mtr | Nos | 1 | 1 | 1500 | 18 | N
99 | 84715000 | Mother Board | Nos | 1 | 1 | 42000 | 18 | N
100 (a) | 85235910 | Supply of 4 Reader Controller | Nos | 3 | 3 | 116025 | 18 | N
101 (a) | 8234990 | Supply of Main Access Control Software | Nos | 1 | 1 | 75075 | 18 | N
102 (a) | 84719000 | Supply of Proximity Card Readers | Nos | 3 | 3 | 5733 | 18 | N
103 (a) | 84719030 | Supply of RoHS Compliant Fingerprint Biometric Reader | Nos | 1 | 1 | 47775 | 18 | N
104 (a) | 85235910 | Supply of Proximity Cards | Nos | 1 | 1 | 307.13 | 18 | N
105 (a) | 85059000 | Supply of Electromagnetic Lock | Nos | 3 | 3 | 3276 | 18 | N
106 (a) | 83016000 | Supply of Emergency exit auto release | Nos | 3 | 3 | 10920 | 18 | N
107 (a) | 83016000 | Supply of Emergency Release Box | Nos | 3 | 3 | 3685.5 | 18 | N
108 (a) | 85442090 | Supply of 8.0 Core x 1.5 sq mm flexible FR Copper conductor Cable | Mtr | 500 | 500 | 212.12 | 18 | N
109 (a) | 39172310 | Supply of 25 mm PVC MMS Conduit | Mtr | 500 | 500 | 48 | 18 | N
110 (a) | 85447090 | Supply of Cat-6 cable | Mtr | 100 | 100 | 41 | 18 | N
111 | 85437099 | Controller | Nos | 1 | 1 | 116025 | 18 | N
112 | 85437099 | Reader | Nos | 1 | 1 | 5733 | 18 | N
113 | 83016000 | Electromagnetic Lock | Nos | 1 | 1 | 3276 | 18 | N
114 | 85319000 | Release Switch | Nos | 1 | 1 | 10920 | 18 | N
115 | 8504 | Power supply | Nos | 1 | 1 | 1365 | 18 | N
116 | 85432090 | Supply of Rodent repellant controller | Nos | 12 | 12 | 46410 | 18 | N
117 (a) | 84798940 | Supply of field transduser | Nos | 150 | 166 | 2593.5 | 18 | N
118 (a) | 85367000 | Supply of 2 core (14/40SWG) multi strand cable Rodent panel to transducer. | Mtrs | 1500 | 2840 | 72.35 | 18 | N
119 (a) | 3917 | Supply of 20 mm dia PVC FRLS conduit with all accessories. | mtrs | 1000 | 1350 | 39 | 18 | N
120 (a) | 90318000 | Supply of 4 Zone Water Leak Detection Panel | Nos | 12 | 12 | 57330 | 18 | N
121 (a) | 90319000 | Supply of Water Leak Detection Cable | Mtr | 500 | 600 | 1228.5 | 18 | N
122 (a) | 85319000 | Supply of sounder conforming | Nos | 12 | 12 | 3412.5 | 18 | N
123 (a) | 731811 | Supply of Clips and accessories. | Lot | 1 | 1 | 8190 | 18 | N
124 (a) | 90328910 | Supply of Integrated Building Management System Software complete as per specifications | nos | 1 | 1 | 238875 | 18 | N
125 (a) | 90328910 | DDC Enclosure witn including Transformer/SMPS,single pole MCB, Fuse etc complete required. | Nos | 1 | 1 | 320775 | 18 | N
126 (a) | 90328910 | Supply of Bacnet / Mod bus Driver for the System intregation for FSS. | Nos | 1 | 1 | 73710 | 18 | N
127 (a) | 84715000 | Supply of Desktop type computer system | Nos | 1 | 1 | 87087 | 18 | N
128 (a) | 85285200 | Supply of 32" LED Display for Monitoring the System. | Nos | 1 | 1 | 36855 | 28 | N
129 (a) | 90271000 | Supply of Hydrogen Sensor for battery room. | Nos | 3 | 3 | 94185 | 18 | N
130 (a) | 85423100 | Supply of Temp & RH Sensor. | Nos | 12 | 12 | 12694.5 | 18 | N
131 (a) | 85367000 | Supply of 4 Core 1.5 Sqmm cu armoured FRLS cable | Mtr | 500 | 600 | 196.56 | 18 | N
132 (a) | 85447090 | Supply of Cat-6 cable laid on surface with GI saddle-spacers | Mtr | 100 | 100 | 41 | 18 | N
133 (a) | 39172310 | Supplyof 25 mm PVC MMS Conduit | Mtr | 100 | 100 | 48 | 18 | N
134 | 90328910 | Digital input | Nos | 1 | 1 | 12967.5 | 18 | N
135 | 90328910 | Digital output | Nos | 1 | 1 | 12285 | 18 | N
136 | 90328910 | Analouge input | Nos | 1 | 1 | 10920 | 18 | N
137 | 90328910 | Analouge output | Nos | 1 | 1 | 10920 | 18 | N
138 (a) | 577399 | Supply of Air cooled condesing units, comprising of scroll compressors of 11 TR | Nos | 3 | 3 | 382200 | 28 | N
139 (a) | 577399 | Supply of Air cooled condesing units, comprising of scroll compressors of 8.5 TR (Nominal) capacity | Nos | 3 | 4 | 259350 | 28 | N
140 (a) | 577399 | Supply of Air cooled condesing units, comprising of scroll compressors of 11 TR (Nominal) capacity | Nos | 1 | 1 | 382200 | 28 | N
141 (a) | 577399 | Supply of Air cooled ductable floor mounted package unit, comprising of scroll compressors of 5.5 TR (Nominal) capacity | Nos | 1 | 1 | 218400 | 28 | N
142 (a) | 577399 | Supply of Air cooled ductable floor mounted package unit, comprising of scroll compressors of 8.5 TR (Nominal) capacity | Nos | 1 | 1 | 259350 | 28 | N
143 (a) | 577399 | Supply of Air cooled ductable floor mounted package unit, comprising of scroll compressors of 8.5 TR (Nominal) capacity | Nos | 1 | 1 | 259350 | 28 | N
144 (a) | 577399 | Supply of Air cooled ductable floor mounted package unit, comprising of scroll compressors of 5.5 TR (Nominal) capacity | Nos | 1 | 1 | 218400 | 28 | N
145 (a) | 7411100 | Supply of 18 G Hard Drawn Copper Piping between Indoor & Out Doo | Mtr | 550 | 180 | 1570 | 18 | N
146 (a) | 7306 | Supply of indoor hanging rod | Nos | 24 | 24 | 3003 | 18 | N
147 (a) | 721049 | Supply of Canvas Connection | Nos | 24 | 24 | 3412.5 | 18 | N
148 (a) | 721049 | Supply of 22 Gauge ducting | Sq.ft | 600 | 3808 | 307.13 | 18 | N
149 (a) | 721049 | Supply of 24 Gauge ducting | Sq.ft | 1500 | 1984 | 259.35 | 18 | N
150 (a) | 400911 | Supply of Thermal Insulation | Sq.ft | 1500 | 4644 | 68.25 | 18 | N
151 (a) | 680710 | Supply of Acoustic Insulation for plennum | Sq.ft | 500 | 2152 | 88.73 | 18 | N
152 (a) | 74121000 | Supply of 11/8 " dia soft copper pipeline with insulation. | Running | 80 | 0 | 341.25 | 18 | N
153 (a) | 74121000 | Supply of 7/8 " dia soft copper pipeline with insulation. | Running | 90 | 0 | 300.3 | 18 | N
154 (a) | 74121000 | Supply of 5 /8 " dia soft copper pipe line with insulation. | Running | 85 | 0 | 293.48 | 18 | N
155 (a) | 74121000 | Supply of 1/2 " dia soft copper pipe line with insulation. | Running | 100 | 0 | 273 | 18 | N
156 (a) | 85446090 | Supply of 4 core x 4 sq. mm PVC insulated, PVC sheathed, unarmoured copper conductor multi core cable | Mtrs | 200 | 0 | 266.99 | 18 | N
157 (a) | 85446090 | Supply of control cable between indoor and out door units of size 3 core x 2.5 sqmmXLPE/PVC insulated copper conductor in PVC conduit | Mtrs | 300 | 0 | 134.32 | 18 | N
158 (a) | 85446090 | upply of control cable between indoor and out door units of size 3 core x 1.5 sqmmXLPE/PVC insulated copper conductor in PVC conduit | Mtrs | 300 | 0 | 116.03 | 18 | N
159 (a) | 85446090 | Supply of control cum transmission cable between indoor and out door units of size 4 core x 10sqmmXLPE/PVC insulated copper conductor in PVC conduit | Mtrs | 200 | 0 | 700.25 | 18 | N
160 (a) | 85381010 | Supply of Sequencer Units | Nos | 11 | 11 | 16380 | 18 | N
161 (a) | 76169100 | Supply of powder coated aluminium grills / diffusers | Sq.ft | 50 | 73 | 1023.75 | 18 | N
162 (a) | 7216 | Supply of MS Stang for Outdoor Unit | Kg | 2000 | 2750 | 150.15 | 18 | N
163 (a) | 84798999 | Supply of Volume Control Damper | Sq.ft | 20 | 20 | 955.5 | 18 | N
164 (a) | 84159000 | Supply of AHU 22 TR | Nos | 2 | 2 | 144000 | 18 | N
165 (a) | 84159000 | Supply of AHU 17 TR | Nos | 2 | 2 | 141600 | 18 | N
166 (a) | 84159000 | Supply of AHU 11 TR | Nos | 2 | 2 | 120000 | 18 | N
167 | 84042000 | Condenser | Nos | 1 | 1 | 35490 | 18 | N
168 | 84733020 | Mother Board (PCB) | Nos | 1 | 1 | 24911.25 | 18 | N
169 (a) | 8536203 | Supply of 100 Amp 4P MCCB with enclosure and rotary handle. | Nos | 2 | 2 | 34125 | 18 | N
170 (a) | 8537 | Supply of UPS Electrical Distribution System Panel as per SLD. | Nos | 2 | 0 | 327600 | 18 | N
171 (a) | 8537 | Supply of AC Electrical Distribution System Panel as per SLD. | Nos | 2 | 2 | 348075 | 18 | N
172 (a) | 85442090 | Supply of 4 way TPN DB, incomer 63 Amp 4P RCCB, 30 mA 1 no. and outgoing 32 Amp SP MCB D Curve 12 nos | Nos | 18 | 0 | 17062.5 | 18 | N
173 (a) | 85442090 | Supply of 8 way TPN DB, incomer 63 Amp 4P RCCB, 30 mA 1 no. and outgoing 32 Amp SP MCB D Curve 24 nos with enclosure | Nos | 4 | 0 | 30030 | 18 | N
174 (a) | 85442090 | Supply of IP based intelligent PDUs of 230V AC, 32amps, 24 Outlets | Nos | 40 | 40 | 61425 | 18 | N
175 (a) | 85444920 | Supply of industrial socket 32 amps, 230 V, 1P+N+E IEC 309, industrial Socket with Plug, including the cost of supplying and fixing metal box, mounted on wall/under raised floor/Cable Tray. | Nos | 24 | 40 | 3685.5 | 18 | N
176 (a) | 8536502 | Supply of industrial socket 16 amps, 230 V, 1P+N+E IEC 309, industrial Socket with Plug, including the cost of supplying and fixing metal box, mounted on wall/under raised floor/Cable Tray. | Nos | 70 | 0 | 3685.5 | 18 | N
177 (a) | 85446090 | Supply of 4 Core x 35 sqmm cu armoured cable | Mtrs | 50 | 0 | 3139.5 | 18 | N
178 (a) | 85442090 | Supply of 4 Corex 16 sqmm cu armoured cable | Mtrs | 1000 | 200 | 1122.37 | 18 | N
179 (a) | 85442090 | Supply of 3 Corex 6 sqmm cu armoured cable | Mtrs | 1200 | 800 | 327.61 | 18 | N
180 (a) | 85442090 | Supply of 3 Corex 4 sqmm cu armoured cable | Mtrs | 2500 | 300 | 225.23 | 18 | N
181 (a) | 74091100 | Supply of Copper plate earthing 600x 600x3.15mm | Nos | 4 | 4 | 17062.5 | 18 | N
182 (a) | 74091100 | Supply of 25 X 3 mm Cu Strip | Mtr | 250 | 250 | 505.05 | 18 | N
183 (a) | 85444920 | Supply of 1C X 6 Sqmm Cu Flex PVC Insulated Cable | Mtr | 500 | 500 | 98.28 | 18 | N
184 (a) | 8538 | Supply of Automatic Transfer Switch (ATS) 6 KVA 1U rack mount | Nos | 26 | 26 | 53235 | 18 | N
185 (a) | 85469010 | Supply of all type Cable end termination of the PVC insulated PVC sheathed copper conductor armoured / flexible cables of 1100-volt grade including supplying and fixing of single Compression Heavy Duty Copper lugs with Compound complete as required. | Nos | 50 | 50 | 819 | 18 | N